## Slide 1: Neural Networks for Scoliosis Quantification
Ben Church & Kyle MacNeil –CISC 874

## Slide 2: Content
Background
  Scoliosis
  Assessment
  Tracked ultrasound
Motivation
Methods
  Pre-processing
  Neural network
Results
Discussion

## Slide 3: Background - Scoliosis
Pathological spinal curvature
Develops during growth
Must be monitored

## Slide 4: Background – Assessment
X-ray imaging is the gold-standard
Measure Cobb angle from X-ray, quantifying severity

## Slide 5: Background – Tracked ultrasound
Risks of cumulative X-ray exposure have motivated use of 3D ultrasound
Provides landmark locations rather than macroscopic visualization
Curvature extracted from landmark locations

## Slide 6: Motivation
3 expected error types:
Missing points
Misplaced points
Random noise
Can curvature be retrieved?

## Slide 7: Methods – Pre-processing

## Slide 9
Feedforward backpropagation network
Curvature estimate

## Slide 10: Methods – Neural network

## Slide 11: Results
Chart: Noise Standard Deviation (mm2)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
 | 1.3033 | 1.564 | 1.3036 | 1.4669 | 2.5174 | 2.2341 | 2.3575 | 1.8483 | 2.1955 | 2.6522 | 2.3886
Modest increase in MSE with noise
Average error < clinically acceptable limit of error (5o)

## Slide 12: Discussion
Our method vs. literature method
Supplements current methods with a tool for dealing with incomplete/imperfect data
Demonstrates robustness against noise
What next?